## Slide 1
Assessment of Dual antiplatelet therapy versus Rivaroxaban In atrial Fibrillation patients Treated with left atrial appendage closure
ADRIFT investigators
DOI public at www.action-coeur.org

## Slide 3: Healing: 30 days to 3 months
Kar et al. JACC Intv 2014;7:801-9

## Slide 5: Risk of device thrombosis
DT
CHA2DS2VASc
Spontaneous contrast echo
CHF or low EF
Inflammation
Platelet count
Cancer
Treatment
Device position
Residual leak
Prior stroke
Thrombin
Age
Patient-related
Device-related
Medication-related
Risk factors

## Slide 6
Venous
thrombotic events
Arterial
thrombotic events
Mortality
Failure of antithrombotic treatment
Thrombus formation in LA
Lim HS. Effect of atrial fibrillation on atrial thrombogenesis in humans: impact of rate and rhythm. JACC. 2013;61:852-60
Meus R. Prothrombotic State in Patients With a Left Atrial Appendage Thrombus of Unknown Origin and Cerebrovascular Events. Stroke 2016;47:1872-8.
Kamath GS. Activation of the endogenous coagulation system in patients with atrial flutter: relationship to echocardiographic markers of thromboembolic risk. Cardiol J. 2010;17:390-6.

## Slide 7: Post-LAAC antithrombotic treatment
Aspirin
Warfarin 45days
Clopidogrel 6 months
Aspirin
Clopidogrel 3 months
NOAC 3 months
Holmes et al . JACC 2014;64:1-12
No contraindication to anticoagulation
Contraindication to anticoagulation

## Slide 8: Safety
DAPT vs. warfarin
SAPT vs. NOAC

## Slide 9: Study Design
105 patients with successful LAAC
DAPT
Rivaroxaban 15mg od
Randomization 1:1:1
Rivaroxaban 10mg od
1° EP, D10: Thrombin generation (F1+2)
2° EP, D90: F1+2, TAT, D-Dimers and clinical events
Central randomization: CleanWeb® software (Telemedicine Technologies SAS) in a 1:1:1 allocation to rivaroxaban 10 mg (R10); rivaroxaban 15mg (R15); DAPT with aspirin 75mg and clopidogrel 75mg.

## Slide 10: Objectives
Thrombin generation (F1+2) at Day 10, 2-4 hours after drug intake, on platelet poor plasma (Primary EP)
Thrombin-antithrombin complex, D-Dimers, vWf, PAI-1, Prothrombin time, Rivaroxaban anti-Xa activity, at Day 10 and Day 90 (secondary EP)
Clinical endpoints at Day 90: death, MI, Stroke, peripheral embolism, major or clinically significant bleeding and, device thrombosis

## Slide 11: Statistical analyses
Main analysis on the per-protocol population
Complementary ITT and as-treated analyses were performed as sensitivity analyses
Global comparisons among the 3 groups used Kruskall-Wallis non-parametric test
Then a priori defined comparisons between each dose of Rivaroxaban and DAPT were performed using Wilcoxon test or using Chi-square or Fisher’s exact test for binary variables
Nominal p values <0.05 and < 0.016 (Bonferroni’s adjustment) were considered significant for global study and Rivaroxaban vs. DAPT comparisons, respectively

## Slide 12: Study organization
Academic Coordinating Center: ACTION, Institute of Cardiology–Pitié-Salpêtrière, Paris
Academic Sponsor: AP-HP, Paris
Academic Global Trial Operations: ACTION, URC-Lariboisière, Paris
Funding: Bayer and ACTION
Investigation sites : 10 French Intervention Centers
Blinded Central Lab for biological measurements
Blinded Central Imaging Lab for echo and CT scans
Blinded Clinical Event Committee for adjudication

## Slide 14: Results

## Slide 15: Baseline characteristics
 |  | Rivaroxaban 10 mg n=37 | Rivaroxaban 15 mg n=34 | DAPT n=33
Male gender |  | 20 (54%) | 22 (65%) | 23 (70%)
Age (years) |  | 78 ± 8 | 78 ± 9 | 76 ± 8
Heart Failure |  | 6 (16%) | 7 (21%) | 6 (18%)
CHADS2-VASc Score |  | 4.6 ± 1.3 | 4.7 ± 1.5 | 4.5 ± 1.5
HAS-BLED Score |  | 3.8 ± 1.1 | 3.7 ± 1.0 | 3.5 ± 0.8
Previous Stroke (any) |  | 15 (41%) | 20 (59%) | 15 (45%)
Hemorrhagic |  | 8 (22%) | 4 (12%) | 7 (21%)
Ischemic |  | 4 (11%) | 11 (32%) | 5 (15%)
Hemorrhagic and Ischemic |  | 1 (3%) | 4 (12%) | 3 (9%)
Unknown |  | 2 (5%) | 1 (3%) | 0 (0%)
Previous TIA |  | 2 (5%) | 4 (12%) | 4 (12%)
Permanent contraindication to full anticoagulation |  | 33 (89%) | 30 (88%) | 27 (82%)

## Slide 16: Procedural characteristics
 | Rivaroxaban 10 mg n=37 | Rivaroxaban 15 mg n=34 | DAPT n=33
Indication for LAAC (several possible) |  |  | 
Previous major ISTH bleeding | 26 (70%) | 22 (65%) | 22 (67%)
High risk of fall | 8 (22%) | 5 (15%) | 2 (6%)
Labile INRs | 3 (8%) | 2 (6%) | 0 (0%)
Known hemostasis disorder | 0 (0%) | 0 (0%) | 2 (6%)
Stroke recurrence despite adequate anticoagulation | 1 (3%) | 3 (9%) | 3 (9%)
Lack of compliance with anticoagulation therapy | 1 (3%) | 1 (3%) | 0 (0%)
Other contraindication to chronic anticoagulation | 0 (0%) | 1 (3%) | 4 (12%)
Left atrial diameter (mm) | 55 ± 18 | 43 ± 13 | 44 ± 14
Type of LAAC device |  |  | 
Watchman | 12 (32%) | 12 (35%) | 12 (36%)
Amulet | 25 (68%) | 22 (65%) | 21 (64%)
Procedure related complication (any) | 3 (8%) | 2 (6%) | 2 (6%)
Groin hematoma | 2 (5%) | 1 (3%) | 1 (3%)
Blood transfusion and groin hematoma | 0 (0%) | 0 (0%) | 1 (3%)
Pseudoaneurysm | 0 (0%) | 1 (3%) | 0 (0%)
Transfusion | 1 (3%) | 0 (0%) | 0 (0%)

## Slide 17: Primary Endpoint Prothrombin fragments 1+2 @ Day10

## Slide 18: Biological endpoints @ day 10
 | Rivaroxaban 10 mg (n=37) | Rivaroxaban 15 mg (n=34) | DAPT (n=33) | p value
TAT (ng/mL) | 3.3 (2.7-4.0) | 3.6 (3.1-5.7) | 4.2 (3.0-7.2) | 0.096
D-Dimers (ng/mL) | 1006 (796-1306) | 1162 (688-1451) | 1213 (949-1472) | 0.286
VWF Ag (%) | 207 (176-295) | 208 (156-273) | 221 (178-265) | 0.982
PAI-1 (UI/mL) | 17 (10-24) | 15 (10-25) | 14 (9-21) | 0.312
Similar trends @ 3 months

## Slide 19: Clinical Endpoints @ 3 months
 | Rivaroxaban 10mg n=37 | Rivaroxaban 15mg n=34 | DAPT n=33 | p value
Death | 0 (0%) | 1 (3%) | 0 (0%) | NS
Myocardial infarction | 1 (3%) | 0 (0%) | 0 (0%) | NS
Stroke/TIA | 1 (3%) | 0 (0%) | 0 (0%) | NS
Systemic embolism | 0 (0%) | 0 (0%) | 0 (0%) | -
ISTH Major or clinically significant | 9 (24%) | 4 (11%) | 9 (27%) | NS
TIMI Major | 2 (5%) | 0 (0%) | 1 (3%) | NS
TIMI Minor | 7 (19%) | 4 (12%) | 7 (21%) | NS
TIMI Minimal | 4 (11%) | 8 (23%) | 7 (21%) | NS
Net clinical benefit | 9 (24%) | 5 (15%) | 9 (27%) | NS
Net clinical benefit: Death, Stroke, Myocardial infarction, Systemic embolism, Major or clinically significant ISTH bleeding

## Slide 20: Woman, 79y, Amulet 28, DAPT, @3months

## Slide 21: Woman, 69y, Watchman 24, DAPT, @3months
Device
Thrombus

## Slide 22: Conclusions
The combined antithrombotic regimens currently used after LAAC may not be adapted to HBR patients undergoing this procedure
A reduced dose of rivaroxaban (monotherapy) is superior to DAPT in controlling thrombin generation
A reduced dose of rivaroxaban appears clinically feasible and deserves further evaluation in large clinical trials.